## Slide 1: Storage for the DBA
Denny Cherry
mrdenny@mrdenny.com
MVP, MCSA, MCDBA, MCTS, MCITP

## Slide 2: Agenda
Storage Terminology
Array Cache Setup
RAID Types
Tiered Storage
Disk Alignment
Spindle Types
Physical Array Diagram

## Slide 3: Storage Terminology
LUN = Logical Unit Number
Host = The Server or Servers a LUN is presented to
SAN = Storage Area Network
Fabric = Fibre network which makes up the SAN
Array = Box with the Spindles in it

## Slide 4: Storage Terminology
Disk = How the OS sees a LUN when presented
Spindle = Physical disks in the Storage Array
IOps = Physical Operation To Disk
Sequential IO = Reads or writes which are sequential on the spindle
Random IO = Reads or writes which are located at random positions on the spindle

## Slide 5: Array Cache Setup
OLTP databases make poor use of SAN read cache
OLAP databases make good use of SAN read cache
Try reducing read cache and increasing write cache
OLTP databases with high buffer cache hit ratios may be able to have the read cache disabled
There is no one correct setup. Every system is different.

## Slide 6: When Write Cache Gets Full?
Doesn’t flush to disk until low watermark is hit
Force flushes once high watermark is hit
Force flushing completely empties write cache
Force flushing disables write cache until write cache is disabled
If adjustable, set low very low, and high watermark very high (20/90)
If cache gets to 100% full – Pray!

## Slide 7: Oh crap the power went out!
Most arrays have internal batteries
Write cache is flushed to disk
After flush array powers down
On power-up flushed cached is read and committed to LUNs before LUN is made available
Make sure SQL is down before the array flushes
http://www.flickr.com/photos/robertfrancis/352039299/

## Slide 8: RAID Types
RAID 0
  Straight Stripe
  No redundancy
  Very fast
  Low cost
  Any disk failure looses data
  Can not survive no disks failures
  Requires 2 or more disks

## Slide 9: RAID Types
RAID 1
  Full Mirror of data
  No performance Benefit
  High Cost
  Requires 2 disks
  Can survive 1 disk failure

## Slide 10: RAID Types
RAID 0+1
  Drives Striped, then Stripes Mirrored
  High Cost
  High Performance
  Requires 2 disks
  Requires an even number of disks
  Can survive 1 spindle failure
  May survive multiple spindle failure

## Slide 11: RAID Types
RAID 10 (aka 1+0)
  Drives Mirrored, then Mirrors Striped
  High Cost
  High Performance
  Requires 2 disks
  Requires an even number of disks
  Can survive 1 spindle failure
  May survive multiple spindle failure

## Slide 12: RAID Types
RAID 5
  Stripe with single parity drive
  Low cost
  Good performance
  Write penalty
  Can survive a single drive failure
  Requires at least 3 disks

## Slide 13: Not all RAID 5 is Created Equal
RAID 6 can be done this way as well.

## Slide 14: RAID Types
RAID 6
  Stripe with two parity drives
  Slightly higher cost per gig than RAID 5, good performance
  Same write penalty as RAID 5
  Can survive 2 disk failures
  Requires at least 4 disks

## Slide 15: Disk Alignment
Can improve SQL disk performance up to 100%
  (64 1k blocks/64k IO)=100% of IO is impacted
Must be done before data is put on the disk
Windows 2000 - Diskpar
Windows 2003 - Diskpart
Windows 2008 - Automatic

## Slide 16: Disk Alignment

## Slide 17: Tiered Storage
Time is Money
http://www.flickr.com/photos/21560098@N06/3832712784/

## Slide 18: Tiered Storage
Tier 0
  Enterprise Flash Disks low capacity drives
  Very high cost
  Very high speed storage
  Great for Databases
http://commons.wikimedia.org/wiki/File:Speedometer_Odometer.jpg

## Slide 19: Tiered Storage
Tier 1
  15k RPM Fibre Channel low capacity drives
  High cost, high speed storage
  Great for Databases, Exchange, Virtual Machines
http://commons.wikimedia.org/wiki/File:Speedometer_Odometer.jpg

## Slide 20: Tiered Storage
Tier 2
  10k RPM Fibre Channel medium capacity drives
  Medium cost, medium speed storage
  Great for File Servers, Database Archives, Exchange
http://commons.wikimedia.org/wiki/File:Speedometer_Odometer.jpg

## Slide 21: Tiered Storage
Tier 3
  7.2/5.4k RPM SATA/SAS high capacity drives
  Low cost, low speed storage
  Great for Backups, Archives, Exchange
http://commons.wikimedia.org/wiki/File:Speedometer_Odometer.jpg

## Slide 22: Spindle Types
Fibre Channel (FC)
  Fastest Bus Speeds between 2-4 Gigs
SCSI
  Older Technology, slower bus speeds
SATA
  Newer Technology, even slower bus speeds
Enterprise Flash Disks (EFDs)
  Newest Technology, same bus speeds as FC

## Slide 23: Array Diagram

## Slide 24: Denny Cherry
mrdenny@mrdenny.com
http://itke.techtarget.com/sql-server